## Sheet
SSC | QP Code | Job Role Name | NSQF Level | Equipment Name (https://skillindia.nsdcindia.org/EquipmentDetailJobRoleWise23Apr19) | Minimum number of Equipment required (per batch of 30 trainees) | Minimum number of Equipment required (per batch of 25 trainees) | Minimum number of Equipment required (per batch of 20 trainees) | Unit Type | Is this a mandatory Equipment to be available at the Training Center (Yes/No) | Dimension/Specification/Description of the Equipment/ ANY OTHER REMARK
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | DIALYSIS MACHINE | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Custom made pressurised water loop for Hemodialysis Machine | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Dialysate Filter | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Sodium Hypochlorite Solution 10% V/V | 5 | 5 | 5 | Ltr Canister | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Formaldehyde Solution | 5 | 5 | 5 | Ltr Canister | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Paracetic Acid Solution | 5 | 5 | 5 | Ltr Canister | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Acetic Acid/Vinegar | 5 | 5 | 5 | Ltr Canister | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Dialyzer(Low Flux) | 2 | 2 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | HD Blood Tubing set | 10 | 10 | 8 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Transducer protecters(TP) | 10 | 10 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | IV set | 10 | 10 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | 20 Ml syringe | 10 | 10 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Standard unfractionated Injection Heparin 25000 IU | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Normal Saline 1 Ltr Vac | 10 | 10 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Double Lumen Central venous catheter | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Acid concentrate solution | 2 | 2 | 2 | canisters | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Bicarbonate powder packets | 10 | 10 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Sterile Surgical gloves 7.5 Inch | 10 | 10 | 10 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Nonsterile Examination Gloves | 1 | 1 | 1 | Box(100 Pcs) | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | AVF back eyed needle (16 G) | 10 | 10 | 10 | pairs | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Customised Mannequin for cannulation demonstration. | 1 | 1 | 1 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Hydrogen Peroxide | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Citro sterile solution | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | R.O.Plant | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | Antiscalent solution | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | K+ free can (29ltrs) | 2 | 2 | 2 | Nos | Yes
Healthcare Sector Skill Council | HSS/Q2701 | Dialysis Technician | 4 | AVF needles | 3 | 3 | 3 | Nos | Yes